Marlite Guide Specification                                                                                                      06/2024
Decorative FRP Wall Panels - Symmetrix™ SmartSeam FRP Panels

The following specification has been developed by

 SEQ CHAPTER \h \r 1Marlite

202 Harger St.

Dover, Ohio 44622

Tel: (330) 343-6621 Fax: (330) 343-4668.

Email:  info@marlite.com  www.marlite.com
to assist Architects and Designers in the specification of Decorative Fiberglass Reinforced Plastic wall panel system for high wear areas. 
 Marlite Stamdard FRP Panels are excellent for sanitary environments since they facilitate washing and cleaning and do not support mold or mildew growth.  However, FRP panels are subject to the effects of continuous humidity and temperature.  Provide adequate ventilation for drying and do not use in high temperature areas.
Marlite Induro FRP provides an exceptionally wear resistant decorative panel; due to an exclusive process of thermally bonding melamine impregnated surfacing materials directly to the FRP core.  Designed to match or coordinate with popular High Pressure Laminates, these panels offer a superb array of decorative finishes and patterns from solid colors to wood-grains and abstract patterns.  Custom color and patterns are available upon request.
Marlite Artizan FRP panels offer a superb array of decorative printed rotogravure finishes with exceptional image integrity; unlimited varieties of woodgrain and abstract pattern plus tactile as well as visual textures.  Custom color and patterns are available upon request.
Marlite Envue Graphic FRP provides impressive visuals of high-resolution photographs, illustrations, logos, tile designs and custom graphics, all protected by Marlite’s tough Sani-Coat sealer. A special application process produces optimum graphic reproduction on a tough, sanitary surface.  
Marlite Symmetrix with Sani-Coat FRP panels feature prefinished precision grid score lines that provide the look of tile without grout to clean or deteriorate.  Custom color and patterns are available upon request.  
The section has been formatted in accordance with the principals embodied in the Construction Specifications  Institute's  Manual of Practice and is intended for use in conjunction with Contract Conditions, Bidding Conditions and General Requirements developed in accordance with CSI guidelines.

 Notes to the specifier are included. Options that must be selected by the specifier are shown in brackets [         ].   Inapplicable clauses shall be deleted.

SECTION 09 7720 – DECORATIVE FIBERGLASS REINFORCED WALL PANELS
PART 1 -  GENERAL

1.1 SUMMARY
A. Section Includes:   Prefinished polyester glass reinforced plastic sheets and adhered to unfinished [gypsum] [cementitious] [untreated plywood] wallboard, [existing flat, smooth, clean] surfaces.

1. [Aluminum] [PVC] trim.
2. [PVC Wall base.]
B. Products Not Furnished or Installed under This Section:
1. Gypsum [Cementitious] substrate board.

2. Resilient Base.
1.2 RELATED SECTIONS

A. Section [____] – Gypsum [Cementitious] substrate board.
B. Section [____] – Wood [Metal] Stud framing

C. Section [____] – Painting & Transparent Finishes.

D. Section [____] – Resilient Base.
1.3 REFERENCES

References are listed as a convenience and are often deleted in their entirety.  If required by the user agency delete references from the list below that are not actually required by the text of the edited section.
A. American Society for Testing and Materials:  Standard Specifications (ASTM)
1. ASTM D 256 – Izod Impact Strength (ft #/in)

2. ASTM D 570 – 
Water Absorption (%)

3. ASTM D 638 – 
Tensile Strengths (psi) & Tensile Modulus (psi)

4. ASTM D 790 – 
Flexural Strengths (psi) & Flexural Modulus (psi) 

5. ASTM D 2583 – Barcol Hardness
6. ASTM E 84 – Standard Test Method for Surface Burning Characteristics of Building Materials.
7. ASTM D 3273 – Mold & Mildew

8. ASTM C 1629-6.1 – Surface Abrasion

9. ASTM C 1629-6.2 – Indentation Gardner Impact

10. ASTM C 1629-6.4 – Hard Body Impact

11. ASTM D 5319 – Standard Specification for Glass-Fiber Reinforced Polyester Wall Panels 
1.4  SEQ CHAPTER \h \r 1SUBMITTALS

A.  SEQ CHAPTER \h \r 1Product Data:  Submit sufficient manufacturer's data to indicate compliance with these specifications, including:
1. Preparation instructions and recommendations.
2. Storage and handling instructions and recommendations.
3. Installation methods.
B.  SEQ CHAPTER \h \r 1Shop Drawings:  Submit elevations of each wall showing location of paneling and trim members with respect to all discontinuities in the wall elevation.

C.  SEQ CHAPTER \h \r 1Selection Samples:  Submit manufacturer’s standard color pattern selection samples representing manufacturer's full range of available colors and patterns.

D. Samples for Verification:   Submit appropriate section of panel for each finish selected indicating the panel color, groove color, gloss level, and pattern required.
1. Submit complete with specified applied finish.

2. For selected patterns show complete pattern repeat. 

3. Exposed Molding and Trim:  Provide samples of each type, finish, and color.
E. Manufacturers Safety Data Sheets (SDS) for adhesives, sealants and other pertinent materials prior to their delivery to the site (available as downloads for most Marlite’s products at http://www.marlite.com/tech-details.aspx or by contacting Marlite at info@marlite.com).

1.5  SEQ CHAPTER \h \r 1QUALITY ASSURANCE
A. Conform to building code requirements for interior finish for smoke and flame spread requirements as tested in accordance with: 

1. ASTM E 84 (Method of test for surface burning characteristics of building Materials) 

Wall Required Rating – Class [A] [B] [C].
Include the following if products are used in areas subject to stringent wash down requirements.

B. Sanitary Standards:  System components and finishes to comply with:

1. United States Department of Agriculture (USDA) / Food Safety & Inspection 
Services (FSIS) requirements for food preparation facilities, incidental contact.

2. Food and Drug Administration (FDA) 2013 Food Code 6-101.11.

3. Canadian Food Inspection Agency (CFIA) requirements.

1.6 DELIVERY, STORAGE AND HANDLING


A. Deliver materials factory packaged on strong pallets.   

B. Store panels and trim lying flat, under cover and protected from the elements.  Allow panels and adhesive to acclimate to room temperature (range of 60 to 75°F) for 48 hours prior to installation. 
1.7 PROJECT CONDITIONS

A. Environmental Limitations:  Building are to be fully enclosed prior to installation with heat (70° or similar room temperature) and ventilation consistent with good working conditions for finish work.
B. During installation and for not less than 48 hours before, maintain an ambient temperature and relative humidity within limits required by type of adhesive used and recommendation of adhesive manufacturer. 

1. Provide ventilation to disperse fumes during application of adhesive as recommended 
by the adhesive manufacturer. 
1.8  SEQ CHAPTER \h \r 1WARRANTY
A. Furnish one-year guarantee against defects in material and workmanship.
PART 2 -  PRODUCTS

2.1 ACCEPTABLE MANUFACTURER 

A.  SEQ CHAPTER \h \r 1Marlite; 1 Marlite Drive, Dover, OH  44622.  800-377-1221 FAX (330) 343-4668 Email:  info@marlite.com www.marlite.com. 
B. Product:  
1. Symmetrix™ SmartSeam FRP Panels with Sani-coat Sealer.
2.2 PANELS
A. Fiberglass reinforced thermosetting polyester resin panel sheets complying with ASTM D 5319.
1. Finishing:  BlueSky™ Advanced Finishing System:  Spray-applied Sani-coat Sealer 
covers entire panel including grooves and features water-based UV-cured coatings  

and controlled, low-temperature inline curing.
2. Dimensions:
a. Thickness – 0.090” (2.29mm) nominal
b. Width – [4'-0” (1.22m)] nominal
c. Length – [4’-0” (1.22m)] [5’-0” (1.52m)] [8’0” (2.44m)] [As indicated on the drawings] nominal
3. Tolerance:
a. Length and Width:  +/-1/8” (3.175mm)
b. Square – Not to exceed 1/8”.
B. Properties for Symmetrix FRP:  Resistant to rot, corrosion, denting, peeling, and splintering.
1. Izod Impact Strength – 6.0 ft. lbs./in per ASTM D 256.

2. Water Absorption – 0.15% per ASTM D 570.

3. Tensile Strength – 11.5 x 103 psi per ASTM D 638, Tensile Modulus – 0.45 x 106 psi per ASTM D 638. 

4. Flexural Strength – 0.9 x 104 psi per ASTM D 790, Flexural Modulus – 6.0 x 106 psi per ASTM D 790. 

5. Barcol Hardness (scratch resistance) 28 – per ASTM D 2583. 

6. Standard Test Method for Surface Burning Characteristics of Building Materials – 10 flame spread, 300 smoke developed Class I/A and 50 flame spread, 350 smoke developed Class II/B, exceeding requirements for Class III/C.

7. Mold & Mildew – pass, total absence of disfigurement per ASTM D 3273.

8. Surface Abrasion – level 3, maximum level achieved per ASTM C 1629-6.1.

9. Indentation Gardner Impact - level 3, maximum level achieved per ASTM C 1629-6.2.

10. Hard Body Impact Test - level 3, maximum level achieved per ASTM C 1629-6.4.

C. Back Surface:  Smooth.  Imperfections which do not affect functional properties are not cause for rejection.
Select finish from our full Marlite Finish Palette at www.marlite.com or contact Marlite to create your own finish.
D. Front Surface: Smooth [As Indicated on the Drawings] [In accordance with pre-approved sample.  Information available from the Architect’s Office] [ __________________________].  Marlite Symmetrix SmartSeam FRP Panels with Sani-coat Sealer are available in a variety of panel colors, groove colors, finish gloss levels, tile patterns, groove directions, tile sizes and panel sizes.
Specifier Note: Symmetrix SmartSeam FRP Panels with BlueSky Advanced Finishing are available in Class A (I) and Class B (II) / C (III) Fire-ratings.  Symmetrix Smart Seam FRP Panels can be made available with standard surface and custom surface layouts to match architectural specifications. 
E. Panel Color and Groove Color: [Specifier to choose.] 
1. SYM SS100 White Panel and White Grooves
2. SYM SS105 Black Panel and White Grooves

3. SYM SS916 White Panel and Black Grooves

4. SYM SS917 White Panel and Grey Grooves
5. SYM SS920 Grey Panel and White Grooves
6. SYM SS _________ Solid Color Panel [enter Sherwin Williams color 

number and name] and White Grooves
7. SYM SS _________ Solid Color Panel [enter Sherwin Williams color 

number and name] and Grooves (monochromatic)
8. SYM SS _________ BlueSky Digital Print Panel [enter BlueSky digital

print number and name] and White Grooves

9. SYM SS _________ BlueSky Digital Print Panel [enter BlueSky digital
10. print number and name] and Grey Grooves

11. SYM SS _________ BlueSky Digital Print Panel [enter BlueSky digital


print number and name] and Black Grooves

12. SYM SS _________BlueSky Digital Print Panel [enter BlueSky digital 
13. print number and name] and Grooves (monochromatic)

F. Finish Gloss Level: [Specifier to choose.]
1. High Gloss (not available on BlueSky Digital Print Panels)
2. Satin
G. Tile Pattern, Groove Direction, Tile Size & Panel Size: [Specifier to choose.]

1. Subway Horizontal Direction
a)      6” x 3” tiles, panel size 4’ x 4’ nominal
b)      6” x 3” tiles, panel size 4’ x 5’ nominal

c)      8” x 4” tiles, panel size 4’ x 4’ nominal
d)      24” x 12” tiles, panel size 5’ x 3’ nominal
2. Subway Vertical Direction
a)      3” x 6” tiles, panel size 4’ x 8’ nominal
b)      4” x 8” tiles, panel size 4’ x 8’ nominal
c)      12” x 24” tiles, panel size 4’ x 8’ nominal
3. Square
a)      4” x 4” tiles, panel size 4’ x 8’ nominal
b)      8” x 8” tiles, panel size 4’ x 8’ nominal
c)      16” x 16” tiles, panel size 4’ x 8’ nominal
4. Rectangle Horizontal Direction
a)      6” x 3” tiles, panel size 4’ x 8’ nominal
b)      12” x 6” tiles, panel size 4’ x 8’ nominal
c)      24” x 12” tiles, panel size 4’ x 8’ nominal
5. Rectangle Vertical Direction
a)      3” x 6” tiles, panel size 4’ x 8’ nominal
b)      6” x 12” tiles, panel size 4’ x 8’ nominal
c)      8” x 24” tiles, panel size 4’ x 8’ nominal
6. Linear Horizontal Direction
a)      4” tiles, panel size 4’ x 8’ nominal
b)      8” tiles, panel size 4’ x 8’ nominal
c)      16” tiles, panel size 4’ x 8’ nominal
7. Linear Vertical Direction
a)      4” tiles, panel size 4’ x 8’ nominal 

b)      8” tiles, panel size 4’ x 8’ nominal

c)      16” tiles, panel size 4’ x 8’ nominal

8. Beadboard panel size 4’ x 4’ nominal

9. Chevron panel size 4’ x 4’ nominal
10. Diamond panel size 4’ x 4’ nominal
11. Double Hexagon panel size 4’ x 4’ nominal
12. Herringbone panel size 4’ x 4' nominal

13. Hexagon panel size 4’ x 4’ nominal
14. Parquet panel size 4’ x 8’ nominal
15. Picket Fence panel size 4’ x 4' nominal

16. Plaid panel size 4’ x 8’ nominal
17. Skinny Horizontal panel size 4’ x 8’ nominal
18. Skinny Vertical panel size 4’ x 8’ nominal
19. Square Parquet panel size 4’ x 8’ nominal
H. Fire Rating:  Class C (III) Fire Rating.
1. Class A (I) 
2. Class B (II) / Class C (III)
Delete the following if resilient or contractor supplied bases are used.
2.3 TRIM MOLDING

The following are extruded PVC trim profiles. PVC colors are also available to coordinate with Sani-Coat colorways.  See current Marlite Finish Guide for available choice.
A. PVC Trim:  Thin-wall semi-rigid extruded PVC.  Use only as needed.
1. M 350 Inside Corner, [8’ length] [10’ length]
2. M 360 Outside Corner, [8’ length] [10’ length]
3. M 370 Edge, [8’ length] [10’ length]
4. V 177 135° Inside Corner [8’ length] [White only]
5. V 179 135° Outside Corner [8’ length] [White only]
6. Color: [White] [Black] [extruded custom harmonizing color]
B. Aluminum Anodized Trim:  Heavy weight extruded aluminum 6063-T5 alloy prefinished at the factory.

1. F 550 Inside Corner, 8’ length

2. F 561 Outside Corner, 8’ length

3. F 570 Edge, 8’ length

4. Color: [Bright Satin Anodized] [Black Satin Anodized]

C. Outside Corner Guard:

1. F 560SS Stainless Corner Guard, [8’ length] [10’ length]

2. Finish: #4 brushed satin

3. M 961 PVC Outside Corner Guard, [8’ length] [10’ length]
4. Color: White
The following are dual-durometer extruded polypropylene trim profiles with Marlite’s exclusive Dual-Seal Technology, designed to restrict the growth and propagation of harmful pathogens. Standard colorways are extruded with color throughout the profile.
2.4 ACCESSORIES

Specify rivets for use in areas with dramatic changes in temperature and/or humidity, where the substrate is unusually uneven, and in all low temperatures or cold storage applications.

A. Adhesive:  Either of the following construction adhesives complying with ASTM C 557.
1. Marlite C-551 FRP Adhesive - Water- resistant, non-flammable adhesive. [3.5 gallon   

can].  Use over porous sub wall surfaces only, such as unfinished drywall.
2. Titebond® Advanced Polymer Panel Adhesive – VOC compliant, non-flammable,                 
environmentally safe adhesive. [3.5 gallon can].  Use over non-porous sub wall, such as  

existing
 tile.
3. Marlite C-109 Low VOC Cartridge Adhesive required for interlocking SmartSeam 


Panels. Use on jagged panel edges only. [28-ounce cartridge].
4. Marlite MS-250 Clear Silicone Cartridge Sealant for interlocking SmartSeam Panels.


Use on jagged panel edges only. [10-ounce cartridge].
PART 3 -  EXECUTION

3.1 PREPARATION

A. Examine sub wall to determine that corners are plumb and straight, surfaces are smooth, uniform, clean and free from foreign matter, nails countersunk, joints and cracks filled flush and smooth with the adjoining surface. 
1. Verify that stud spacing does not exceed 24” (61cm) on-center.  
B. Repair defects prior to installation.
1. Level wall surfaces to panel manufacturer’s requirements.  Remove protrusions and fill     
indentations. 
3.2 INSTALLATION

A. Comply with manufacturer's recommended procedures and installation sequence. 

B. Cut panels to meet supports allowing 1/8” (3 mm) clearance for every 8 feet (2.4m) of panel.
1. Cut and drill with carbide tipped saw blades or drill bits or cut with shears.  
C. Apply panels to board substrate, above base, vertically oriented with seams plumb and pattern aligned with adjoining panels.

1. Install panels with manufacturer's recommended gap for panel field and corner joints. 

a.
Adhesive trowel and application method to conform to adhesive manufacturer’s      


recommendations. 
D. For interlocking SmartSeam Panels (non-continuous vertical joints, i.e. subway groove configuration), apply Marlite C-109 Low VOC Cartridge Adhesive or Marlite MS-250 Clear Silicone Cartridge Sealant using swirl technique at jagged panel edges.
E. Apply panel trim molding to all panel edges using silicone sealant providing for required clearances.

1. All trim molding must provide for a minimum 1/8” (3mm) of panel expansion at joints

and edges, to insure proper installation.

2. Apply sealant to all trim molding, channels and joints between the system and different 

materials to assure watertight installation.
3.3 CLEANING
A. Remove excess sealant from panels and trim molding.  Wipe panel down using a damp cloth and mild soap solution or cleaner.

B. Refer to manufacturer's specific cleaning recommendations.  Do not use abrasive cleaners.
END OF SECTION 09 7720
	 Decorative Fiberglass Reinforced Wall Panels
	09 7720 - 3



